## Index (hidden)
History
20251126 | Based on the latest draft AH submitted on 20 Jun to modify

## BIM Object & Asset List
| Appendix G - DSD BIM Object and Asset List | [7 empty] | DSD BIM Modelling Manual (4th Edition)
Item | Discipline | Discipline Code | Equipment | DSD CAT-Code | DSD Sub CAT-Code | Type | System-specific Attributes required | AM System | Classified Scan-to-Mesh Model required
1 | Architectural | AR | Access Platform | APL |  |  |  | BAMS | Y
2 | Architectural | AR | Handrailing, Fencing | ABA | FCL | Chain Link Fence | Y | BAMS | Y, no need to classify Sub Cat-code
3 | Architectural | AR |  |  | FHD | Mild Steel Fence | Y | BAMS
4 | Architectural | AR |  |  | FPB | Primary Boundary Fence | Y | BAMS
5 | Architectural | AR |  |  | H2A | Type 2A Railing | Y | BAMS
6 | Architectural | AR |  |  | HRD | Handrailing | Y | BAMS
7 | Architectural | AR | Chequer Plate | ACP |  |  |  | BAMS
8 | Architectural | AR | Door | ADO | DF1 | Type 1 Double Leaf | Y | BAMS | Y, no need to classify Sub Cat-code
9 | Architectural | AR |  |  | DF2 | Type 2 Double Leaf | Y | BAMS
10 | Architectural | AR |  |  | SF1 | Type 1 Single Leaf | Y | BAMS
11 | Architectural | AR |  |  | SF2 | Type 2 Single Leaf | Y | BAMS
12 | Architectural | AR |  |  | FD1 | Type 1 Folding Door | Y | BAMS | Y
13 | Architectural | AR |  |  | RS1 | Type 1 Roller Shutter | Y | BAMS | Y
14 | Architectural | AR | Downpipe | ADP |  |  |  | BAMS
15 | Architectural | AR | FRP covers | AFR |  |  |  | BAMS | Y
16 | Architectural | AR | Gate | AGT | ACC | Access Gate |  | BAMS | Y, no need to classify Sub Cat-code
17 | Architectural | AR |  |  | CLF | Chain Link Fence Gate |  | BAMS
18 | Architectural | AR |  |  | FPA | Flood Protection Gate |  | BAMS
19 | Architectural | AR |  |  | LOC | Lockable Gate at Handrailing |  | BAMS
20 | Architectural | AR |  |  | PED | Pedestrain Gate |  | BAMS
21 | Architectural | AR |  |  | SSE | Stainless Steel Entrance Gate |  | BAMS
22 | Architectural | AR |  |  | VEH | Vehicular Gate on Boundary Fence |  | BAMS
23 | Architectural | AR | Access Ladder | ALA | CAT | Cat Ladder |  | BAMS | Y
24 | Architectural | AR | Window | AWD |  |  | Y | BAMS | Y
25 | Architectural | AR |  |  | LOU | Louver | Y | BAMS
26 | Building Service | BS | Air Conditioner | BAC |  |  | Y | STOMMIS | Y
27 | Building Service | BS | Breakglass Unit | BFB |  |  | Y | STOMMIS | Y
28 | Building Service | BS | Burglar Alarm Bell | BAB |  |  | Y | STOMMIS | Y
29 | Building Service | BS | Burglar Alarm Panel | BAP |  |  | Y | STOMMIS | Y
30 | Building Service | BS | Burglar Flashing Light | BFL |  |  | Y | STOMMIS | Y
31 | Building Service | BS | Burglar Sensor | BSE | ELM | Burglar Infra Red Sensor | Y | STOMMIS | Y
32 | Building Service | BS |  |  | INR | Burglar Electromagnetic Sensor | Y | STOMMIS | Y
33 | Building Service | BS | Camera | BCA | DOM | Dome Type Camera | Y | STOMMIS
34 | Building Service | BS |  |  | GUN | Gun Type Camera | Y | STOMMIS
35 | Building Service | BS | Card Reader | BCR |  |  | Y | STOMMIS
36 | Building Service | BS | Damper | BDA | BAL | Balancing Damper | Y | STOMMIS | Y, no need to classify Sub Cat-code
37 | Building Service | BS |  |  | FIR | Fire Damper | Y | STOMMIS
38 | Building Service | BS |  |  | SMO | Smoke Damper | Y | STOMMIS
39 | Building Service | BS |  |  | VOC | Volume Control Damper | Y | STOMMIS
40 | Building Service | BS | Diffuser | BDI | EXH | Exhaust Diffuser | Y | STOMMIS
41 | Building Service | BS |  |  | REA | Return Air Diffuser | Y | STOMMIS
42 | Building Service | BS |  |  | SUA | Supply Air Diffuser | Y | STOMMIS
43 | Building Service | BS | Digital Video Recorder | BDV |  |  | Y | STOMMIS
44 | Building Service | BS | Door Lock | BDL |  |  | Y | STOMMIS
45 | Building Service | BS | Duct | BDU |  |  | Y | STOMMIS | Y
46 | Building Service | BS | Duct Fitting | BDF | CAP | Cap | Y | STOMMIS | Y, no need to classify Sub Cat-code
47 | Building Service | BS |  |  | CRO | Cross | Y | STOMMIS
48 | Building Service | BS |  |  | ELB | Elbow | Y | STOMMIS
49 | Building Service | BS |  |  | FLA | Reducer | Y | STOMMIS
50 | Building Service | BS |  |  | RTR | Retangular to Round Reducer | Y | STOMMIS
51 | Building Service | BS |  |  | TEE | Tee | Y | STOMMIS
52 | Building Service | BS | Exit Sign | BFX | DIR | Directional Exit Sign | Y | STOMMIS | Y
53 | Building Service | BS |  |  | EXT | Exit Sign | Y | STOMMIS | Y
54 | Building Service | BS | Fan | BFA | AXI | Axial Fan | Y | STOMMIS | Y
55 | Building Service | BS |  |  | CEN | Centrifugal Fan | Y | STOMMIS | Y
56 | Building Service | BS |  |  | ROE | Roof Extract Fan | Y | STOMMIS | Y
57 | Building Service | BS | Fan Coil Unit | BFC |  |  | Y | STOMMIS
58 | Building Service | BS | Filter | BFI |  |  | Y | STOMMIS
59 | Building Service | BS | Fire Alarm Audio/ Visual | BFS | BEL | Alarm Bell | Y | STOMMIS | Y
60 | Building Service | BS |  |  | LAM | Indication Lamp | Y | STOMMIS | Y
61 | Building Service | BS | Fire Alarm Panel | BFP | LOC | Local Fire Alarm and Indication Panel | Y | STOMMIS | Y
62 | Building Service | BS |  |  | MAI | Main Fire Alarm and Indication Panel | Y | STOMMIS | Y
63 | Building Service | BS |  |  | WPL | Weatherproof Local Fire Alarm and Indication Panel | Y | STOMMIS
64 | Building Service | BS | Fire Detector | BFD | FLA | Flame Detector | Y | STOMMIS | Y
65 | Building Service | BS |  |  | HEA | Heat Detector | Y | STOMMIS | Y
66 | Building Service | BS |  |  | INR | Infra Red Detector | Y | STOMMIS | Y
67 | Building Service | BS |  |  | LIH | Linear Heat Detector | Y | STOMMIS | Y
68 | Building Service | BS |  |  | SMO | Smoke Detector | Y | STOMMIS | Y
69 | Building Service | BS | Fire Extinguisher | BFE | CO2 | CO2 Fire Extinguisher | Y | STOMMIS | Y, no need to classify Sub Cat-code
70 | Building Service | BS |  |  | H2O | H2O Fire Extinguisher | Y | STOMMIS
71 | Building Service | BS | Fire Hydrant | BFH |  |  | Y | STOMMIS | Y
72 | Building Service | BS | Grille | BGR | EXH | Exhaust Grille | Y | STOMMIS
73 | Building Service | BS |  |  | REA | Return Air Grille | Y | STOMMIS
74 | Building Service | BS |  |  | SUA | Supply Air Grille | Y | STOMMIS
75 | Building Service | BS | Hose Reel | BHR |  |  | Y | STOMMIS
76 | Building Service | BS | Intercom | BIN |  |  | Y | STOMMIS
77 | Building Service | BS | Lighting Fitting | BLF | BUL | Bulkhead Light | Y | STOMMIS | Y, no need to classify Sub Cat-code
78 | Building Service | BS |  |  | EME | Emergency Light | Y | STOMMIS
79 | Building Service | BS |  |  | FLO | Floodlight | Y | STOMMIS
80 | Building Service | BS |  |  | FLU | Fluorescent Light | Y | STOMMIS
81 | Building Service | BS |  |  | HIB | High Bay Light | Y | STOMMIS
82 | Building Service | BS |  |  | PER | Perimeter Light | Y | STOMMIS
83 | Building Service | BS | Lourve | BLU |  |  | Y | BAMS | Y
84 | Building Service | BS | Override Keyswitch | BOK |  |  | Y | STOMMIS
85 | Building Service | BS | PA System Master Control Station | BPA |  |  | Y | STOMMIS
86 | Building Service | BS | Pan, Titt and Zoom Controller | BPT |  |  | Y | STOMMIS
87 | Building Service | BS | Roller Shutter (Motorized) | BRS |  |  |  | BAMS | Y
88 | Building Service | BS | Silencer | BSI |  |  | Y | STOMMIS
89 | Building Service | BS | Speaker | BSP |  |  | Y | STOMMIS
90 | Building Service | BS | Telephone Point | BTP |  |  | Y | STOMMIS
91 | Civil | CV | Bollard | VBL |  |  |  | AMFM | Y
92 | Civil | CV | Bridge Abutment | VBA |  |  |  | AMFM | Y, no need to classify Sub Cat-code
93 | Civil | CV | Precast Bridge Segment | VPB |  |  |  | AMFM
94 | Civil | CV | Steel Bridge Segment | VSB |  |  |  | AMFM
95 | Civil | CV | Foundations (Pile Cap, Mini Pile) | VFD |  |  |  | AMFM | Y
96 | Civil | CV | Natural Slope | VNS |  |  |  | AMFM | Y
97 | Civil | CV | Noise Barrier | VNB |  |  |  | AMFM
98 | Civil | CV | Road | VRD |  |  |  | AMFM | Y
99 | Civil | CV | Pavement | VPA |  |  |  | AMFM | Y
100 | Civil | CV | Road Signage | VRS |  |  |  | AMFM
101 | Civil | CV | Soil Nail | VSN |  |  |  | AMFM
102 | Control and Instrumentation | CI | Annunciator | CAU |  |  | Y | STOMMIS | Y
103 | Control and Instrumentation | CI | Chart Recorder | CCR |  |  | Y | STOMMIS
104 | Control and Instrumentation | CI | Flowmeter | CFL | ELM | Electromagnetic Flowmeter | Y | STOMMIS | Y, no need to classify Sub Cat-code
105 | Control and Instrumentation | CI |  |  | GAS | Gas Flowmeter | Y | STOMMIS
106 | Control and Instrumentation | CI |  |  | ORP | Orifice Plate Flowmeter | Y | STOMMIS
107 | Control and Instrumentation | CI | Monitor | CMO | GAS | Gas Monitor | Y | STOMMIS | Y, no need to classify Sub Cat-code
108 | Control and Instrumentation | CI |  |  | TEM | Temperature Monitor | Y | STOMMIS
109 | Control and Instrumentation | CI | Analyzer | CAN | AMM | Ammonia Analyzer | Y | STOMMIS | Y, grouped under CMO (Monitor)
110 | Control and Instrumentation | CI |  |  | CHL | Chloride Analyzer | Y | STOMMIS | Y, grouped under CMO (Monitor)
111 | Control and Instrumentation | CI |  |  | MOI | Moisture Analyzer | Y | STOMMIS | Y, grouped under CMO (Monitor)
112 | Control and Instrumentation | CI |  |  | NIT | Nitrate Analyzer | Y | STOMMIS | Y, grouped under CMO (Monitor)
113 | Control and Instrumentation | CI | Detector | CDE | H2S | H2S Gas Detector | Y | STOMMIS | Y, grouped under CMO (Monitor)
114 | Control and Instrumentation | CI |  |  | MET | Methane Gas Detector | Y | STOMMIS | Y, grouped under CMO (Monitor)
115 | Control and Instrumentation | CI |  |  | OXY | Oxygen Detector | Y | STOMMIS | Y, grouped under CMO (Monitor)
116 | Control and Instrumentation | CI |  |  | POG | Portable Gas Detector | Y | STOMMIS | Y, grouped under CMO (Monitor)
117 | Control and Instrumentation | CI |  |  | SUS | Suspended Solids Detector | Y | STOMMIS | Y, grouped under CMO (Monitor)
118 | Control and Instrumentation | CI | Sensor | CSE | AMN | Ammonium Nitrogen Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
119 | Control and Instrumentation | CI |  |  | DIO | Dissolved Oxygen Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
120 | Control and Instrumentation | CI |  |  | FLS | Float Switch | Y | STOMMIS | Y, grouped under CMO (Monitor)
121 | Control and Instrumentation | CI |  |  | HYL | Hydrostatic Level Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
122 | Control and Instrumentation | CI |  |  | LEE | Level Electrode | Y | STOMMIS | Y, grouped under CMO (Monitor)
123 | Control and Instrumentation | CI |  |  | MIL | Microwave Level Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
124 | Control and Instrumentation | CI |  |  | NIN | Nitrate Nitrogen Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
125 | Control and Instrumentation | CI |  |  | PH_ | pH Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
126 | Control and Instrumentation | CI |  |  | PRE | Pressure Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
127 | Control and Instrumentation | CI |  |  | SUS | Suspended Solids Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
128 | Control and Instrumentation | CI |  |  | TEM | Temperature Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
129 | Control and Instrumentation | CI |  |  | TUR | Turbidity Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
130 | Control and Instrumentation | CI |  |  | ULL | Ultrasonic Level Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
131 | Control and Instrumentation | CI |  |  | VIB | Vibration Sensor | Y | STOMMIS | Y, grouped under CMO (Monitor)
132 | Control and Instrumentation | CI | Transmitter | CTR | AMN | Ammonium Nitrogen Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
133 | Control and Instrumentation | CI |  |  | DIO | Dissolved Oxygen Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
134 | Control and Instrumentation | CI |  |  | FLO | Flowmeter Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
135 | Control and Instrumentation | CI |  |  | HYL | Hydrostatic Level Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
136 | Control and Instrumentation | CI |  |  | MIL | Microwave Level Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
137 | Control and Instrumentation | CI |  |  | NIN | Nitrate Nitrogen Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
138 | Control and Instrumentation | CI |  |  | PH_ | pH Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
139 | Control and Instrumentation | CI |  |  | PRE | Pressure Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
140 | Control and Instrumentation | CI |  |  | SUS | Suspended Solids Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
141 | Control and Instrumentation | CI |  |  | TEM | Temperature Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
142 | Control and Instrumentation | CI |  |  | TUR | Turbidity Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
143 | Control and Instrumentation | CI |  |  | ULL | Ultrasonic Level Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
144 | Control and Instrumentation | CI |  |  | VIB | Vibration Transmitter | Y | STOMMIS | Y, grouped under CMO (Monitor)
145 | Control and Instrumentation | CI | Programmable Logic Controller | CPL |  |  | Y | STOMMIS | Y
146 | Control and Instrumentation | CI | Sampler | CSA |  |  | Y | STOMMIS
147 | Control and Instrumentation | CI | Server | CSV |  |  | Y | STOMMIS
148 | Control and Instrumentation | CI | Workstation | CWS |  |  | Y | STOMMIS | Y
149 | Electrical | EL | Actuator | EAC |  |  | Y | STOMMIS
150 | Electrical | EL | Auto Voltage Regulator | EAV |  |  | Y | STOMMIS
151 | Electrical | EL | Battery | EBT |  |  | Y | STOMMIS | Y
152 | Electrical | EL | Battery & Charger | EBC |  |  | Y | STOMMIS | Y
153 | Electrical | EL | Cable Draw Pit | ECD |  |  | Y | STOMMIS | Y
154 | Electrical | EL | Control Panel | ECP |  |  | Y | STOMMIS | Y
155 | Electrical | EL | Copper Tape | ECT |  |  | Y | STOMMIS
156 | Electrical | EL | Distribution Board | EDB | MCC | TPN MCCB Board | Y | STOMMIS | Y, no need to classify Sub Cat-code
157 | Electrical | EL |  |  | SMC | SPN MCB Board | Y | STOMMIS
158 | Electrical | EL |  |  | TMC | TPN MCB Board | Y | STOMMIS
159 | Electrical | EL | Down Conductor | EDC |  |  | Y | STOMMIS
160 | Electrical | EL | Earth Pit | EEP |  |  | Y | STOMMIS
161 | Electrical | EL | Earthing Conductor | EEC |  |  | Y | STOMMIS
162 | Electrical | EL | Earthing Electrode | EEE |  |  | Y | STOMMIS
163 | Electrical | EL | Earthing Terminal | EER |  |  | Y | STOMMIS
164 | Electrical | EL | Electric Hot Water Boiler | EEB |  |  | Y | STOMMIS
165 | Electrical | EL | Fuse Connection Unit | EFC |  |  | Y | STOMMIS
166 | Electrical | EL | Generator Set | EGE | CHP | Combined Heat and Power Generator | Y | STOMMIS | Y, no need to classify Sub Cat-code
167 | Electrical | EL |  |  | DIE | Diesel Generator Set | Y | STOMMIS
168 | Electrical | EL | Harmonic Filter | EHF |  |  | Y | STOMMIS | Y
169 | Electrical | EL | Isolator | EIS | 3PH | Three Phase Isolator | Y | STOMMIS
170 | Electrical | EL |  |  | SIN | Single Phase Isolator | Y | STOMMIS
171 | Electrical | EL | Lightning Pit | ELP |  |  | Y | STOMMIS
172 | Electrical | EL | Lightning Stroke Counter | ELS |  |  | Y | STOMMIS
173 | Electrical | EL | Lightning Terminal | ELT |  |  | Y | STOMMIS | Y
174 | Electrical | EL | Photovoltaic Panel | EPP |  |  | Y | STOMMIS | Y
175 | Electrical | EL | Power Factor Correction Capacitors and Controller | EPC |  |  | Y | STOMMIS | Y
176 | Electrical | EL | Ring Main Unit | ERM |  |  | Y | STOMMIS | Y
177 | Electrical | EL | Socket Outlet | ESO | 3PH | 16A 3 Phase 5 Pin Switched Socket Outlet | Y | STOMMIS | Y
178 | Electrical | EL |  |  | SIN | 13A 3 Pin Switched Socket Outlet | Y | STOMMIS
179 | Electrical | EL | Switch | ESW | DOP | Double Pole Switch | Y | STOMMIS
180 | Electrical | EL |  |  | LTG | Lighting Switch | Y | STOMMIS
181 | Electrical | EL | Switchboard | ESB | HV_ | HV Switchboard | Y | STOMMIS | Y
182 | Electrical | EL |  |  | LV_ | LV Switchboard | Y | STOMMIS
183 | Electrical | EL | Transformer | ETR | HV_ | HV Transformer | Y | STOMMIS | Y, no need to classify Sub Cat-code
184 | Electrical | EL |  |  | LV_ | LV Transformer | Y | STOMMIS
185 | Electrical | EL | Uninterrupted Power Supply | EUP |  |  | Y | STOMMIS
186 | Electrical | EL | UV Disinfection system | EUV |  |  | Y | STOMMIS
187 | Electrical | EL | Variable Speed Drive | EVS |  |  | Y | STOMMIS | Y
188 | Mechanical | ME | Air Blower | MAB |  |  | Y | STOMMIS | Y
189 | Mechanical | ME | Air Compressor | MAC |  |  | Y | STOMMIS | Y
190 | Mechanical | ME | Air Receiver | MAR |  |  | Y | STOMMIS | Y
191 | Mechanical | ME | Biogas Burner | MBB |  |  | Y | STOMMIS
192 | Mechanical | ME | Boiler | MBO |  |  | Y | STOMMIS
193 | Mechanical | ME | Centrifuge | MCT |  |  | Y | STOMMIS | Y
194 | Mechanical | ME | Conveyor | MCO | BEL | Belt Conveyor | Y | STOMMIS | Y
195 | Mechanical | ME |  |  | SHF | Shafted Conveyor | Y | STOMMIS
196 | Mechanical | ME |  |  | SHL | Shaftless Conveyor | Y | STOMMIS
197 | Mechanical | ME | Detritor | MDT |  |  | Y | STOMMIS
198 | Mechanical | ME | Dehumidifier | MDH |  |  | Y | STOMMIS
199 | Mechanical | ME | Deodorizer | MDE | ATC | Activated Carbon Filter | Y | STOMMIS | Y
200 | Mechanical | ME |  |  | BIO | Biotrickling Filter | Y | STOMMIS | Y
201 | Mechanical | ME |  |  | CSB | Chemical Scrubber | Y | STOMMIS
202 | Mechanical | ME | Eliminator | MEL |  |  | Y | STOMMIS
203 | Mechanical | ME | Flame Arrester Unit | MFA |  |  | Y | STOMMIS
204 | Mechanical | ME | Gas Holder | MGH |  |  | Y | STOMMIS
205 | Mechanical | ME | Grit trap / classifier | MGT |  |  | Y | STOMMIS
206 | Mechanical | ME | Heat Exchanger | MHE |  |  | Y | STOMMIS
207 | Mechanical | ME | Heater | MHA |  |  | Y | STOMMIS
208 | Mechanical | ME | Lifting Appliance | MLA | CHT | Chain Hoist | Y | STOMMIS | Y
209 | Mechanical | ME |  |  | DAV | Davit | Y | STOMMIS | Y
210 | Mechanical | ME |  |  | ECH | Electric Chain Hoist | Y | STOMMIS | Y
211 | Mechanical | ME |  |  | OTC | Crane | Y | STOMMIS | Y
212 | Mechanical | ME |  |  | GAN | Gantry | Y | STOMMIS | Y
213 | Mechanical | ME | Membrane Bioreactor | MMB |  |  | Y | STOMMIS
214 | Mechanical | ME | Membrane Filter Press | MMF |  |  | Y | STOMMIS
215 | Mechanical | ME | Mixer | MMI | BMV | Bridge-mounted Vertical Mixer | Y | STOMMIS
216 | Mechanical | ME |  |  | SUB | Submersible Mixer | Y | STOMMIS
217 | Mechanical | ME | Pump Motor | MMO |  |  | Y | STOMMIS | Y
218 | Mechanical | ME | Penstock | MPE | HOD | Hand-Operated Penstock | Y | STOMMIS | Y
219 | Mechanical | ME |  |  | MOT | Motorized Penstock | Y | STOMMIS | Y
220 | Mechanical | ME |  |  | WEI | Weir Penstock | Y | STOMMIS | Y
221 | Mechanical | ME | Pipe | MPI |  |  | Y | STOMMIS | Y
222 | Mechanical | ME | Pipe Accessory | MPA | FLA | Flange Adaptor | Y | STOMMIS | Y, no need to classify Sub Cat-code
223 | Mechanical | ME |  |  | PUF | Puddle Flange | Y | STOMMIS
224 | Mechanical | ME |  |  | STR | Strainer | Y | STOMMIS
225 | Mechanical | ME | Pipe Fitting | MPF | CRO | Cross | Y | STOMMIS
226 | Mechanical | ME |  |  | FLA | Flange | Y | STOMMIS
227 | Mechanical | ME |  |  | ELB | Elbow | Y | STOMMIS
228 | Mechanical | ME |  |  | RED | Reducer | Y | STOMMIS
229 | Mechanical | ME |  |  | TEE | Tee | Y | STOMMIS
230 | Mechanical | ME | Pressure Vessel | MPV |  |  | Y | STOMMIS | Y
231 | Mechanical | ME | Pump | MPU | CEN | Centrifugal Pump | Y | STOMMIS | Y
232 | Mechanical | ME |  |  | LOB | Lobe Pump | Y | STOMMIS | Y
233 | Mechanical | ME |  |  | PRC | Progressive Cavity Pump | Y | STOMMIS | Y
234 | Mechanical | ME |  |  | RAM | Ram Pump | Y | STOMMIS | Y
235 | Mechanical | ME |  |  | SCR | Screw Pump | Y | STOMMIS | Y
236 | Mechanical | ME |  |  | SEW | Sewage Pump | Y | STOMMIS | Y
237 | Mechanical | ME | Rotating Biological Contactor | MBC |  |  | Y | STOMMIS
238 | Mechanical | ME | Scraper | MSR |  |  | Y | STOMMIS | Y
239 | Mechanical | ME | Screen | MSC | MEB | Mechanised Bar Screen | Y | STOMMIS | Y
240 | Mechanical | ME |  |  | ROD | Rotary Drum Screen | Y | STOMMIS | Y
241 | Mechanical | ME |  |  |  | Step Screen | Y | STOMMIS
242 | Mechanical | ME | Scrubber | MSU |  |  | Y | STOMMIS | Y
243 | Mechanical | ME | Scum Collector | MSO |  |  | Y | STOMMIS | Y
244 | Mechanical | ME | Skip | MSK |  |  | Y | STOMMIS | Y
245 | Mechanical | ME | Sludge Grinder | MSG |  |  | Y | STOMMIS | Y
246 | Mechanical | ME | Sludge Collector | MSD |  |  | Y | STOMMIS
247 | Mechanical | ME | Solid wastes handling units | MSW |  |  | Y | STOMMIS | Y
248 | Mechanical | ME | Stirrer | MST |  |  | Y | STOMMIS
249 | Mechanical | ME | Stoplog | MSL |  |  | Y | STOMMIS
250 | Mechanical | ME | Tank | MTA | FUO | Fuel Oil Tank | Y | STOMMIS | Y, no need to classify Sub Cat-code
251 | Mechanical | ME |  |  | MIX | Mixing Tank | Y | STOMMIS
252 | Mechanical | ME |  |  | STO | Storage Tank | Y | STOMMIS
253 | Mechanical | ME | Universal I-Beam | MUI |  |  | Y | STOMMIS
254 | Mechanical | ME | Valve | MVA | ADT | Adjustable Telescopic Valve | Y | STOMMIS | Y, all as MVA
255 | Mechanical | ME |  |  | AIR | Air Release Valve | Y | STOMMIS | Y, all as MVA
256 | Mechanical | ME |  |  | BAL | Ball Valve | Y | STOMMIS | Y, all as MVA
257 | Mechanical | ME |  |  | BUT | Butterfly Valve | Y | STOMMIS | Y, all as MVA
258 | Mechanical | ME |  |  | CHK | Check Valve | Y | STOMMIS | Y, all as MVA
259 | Mechanical | ME |  |  | ECP | Eccentric Plug Valve | Y | STOMMIS | Y, all as MVA
260 | Mechanical | ME |  |  | FLP | Flap Valve | Y | STOMMIS | Y, all as MVA
261 | Mechanical | ME |  |  | KNG | Knife Gate Valve | Y | STOMMIS | Y, all as MVA
262 | Mechanical | ME |  |  | PRR | Pressure Regulating Valve | Y | STOMMIS | Y, all as MVA
263 | Mechanical | ME |  |  | PRE | Pressure Relief Valve | Y | STOMMIS | Y, all as MVA
264 | Mechanical | ME |  |  | GAT | Gate Valve | Y | STOMMIS | Y, all as MVA
265 | Mechanical | ME |  |  | MOT | Motorized Gate Valve | Y | STOMMIS | Y, all as MVA
266 | Stormwater | SD | Chamber | SBH | AIV | Air Valve Chamber | Y | AMFM | Y, no need to classify Sub Cat-code
267 | Stormwater | SD |  |  | FLM | Flow Meter Chamber | Y | AMFM
268 | Stormwater | SD |  |  | INL | Inlet Chamber | Y | AMFM
269 | Stormwater | SD |  |  | ISP | Inspection Chamber | Y | AMFM
270 | Stormwater | SD |  |  | INT | Intake Chamber | Y | AMFM
271 | Stormwater | SD |  |  | OUT | Outlet Chamber | Y | AMFM
272 | Stormwater | SD |  |  | OVF | Overflow Chamber | Y | AMFM
273 | Stormwater | SD |  |  | SCN | Screen Chamber | Y | AMFM
274 | Stormwater | SD |  |  | WSH | Washout Chamber | Y | AMFM
275 | Stormwater | SD | Box Culvert | SBP |  |  | Y | AMFM | Y
276 | Stormwater | SD | Catchpit | SCH |  |  | Y | AMFM | Y
277 | Stormwater | SD | Dry Weather Flow Interceptor | SDH |  |  |  | AMFM
278 | Stormwater | SD | Decked Nullah Path | SDP |  |  | Y | AMFM | Y
279 | Stormwater | SD | DWF Channel Path | SDC |  |  | Y | AMFM | Y
280 | Stormwater | SD | Nullah | SNP |  |  | Y | AMFM | Y
281 | Stormwater | SD | Channel | SCP |  |  | Y | AMFM | Y
282 | Stormwater | SD | Cascade | SAP |  |  | Y | AMFM | Y
283 | Stormwater | SD | Stepped channel | SSP |  |  | Y | AMFM | Y
284 | Stormwater | SD | Half-round channel | SFP |  |  | Y | AMFM | Y
285 | Stormwater | SD | U Channel | SUP |  |  | Y | AMFM | Y
286 | Stormwater | SD | Surface Channel | SHP |  |  | Y | AMFM | Y
287 | Stormwater | SD | Tunnel | STP |  |  |  | AMFM | Y
288 | Stormwater | SD | Grated Cover | SGC |  |  |  | AMFM | Y
289 | Stormwater | SD | Inlet | SIH |  |  |  | AMFM | Y
290 | Stormwater | SD | Terminal Manhole | SLH | T1_ | Type T1 | Y | AMFM | Y
291 | Stormwater | SD |  |  | T2_ | Type T2 | Y | AMFM | Y
292 | Stormwater | SD |  |  | T3_ | Type T3 | Y | AMFM | Y
293 | Stormwater | SD |  |  | T4_ | Type T4 | Y | AMFM | Y
294 | Stormwater | SD |  |  | T10 | Type T5 | Y | AMFM | Y
295 | Stormwater | SD | Manhole Cover | SMC | DT_ | Double Triangular |  | AMFM | Y
296 | Stormwater | SD |  |  | DES | Standard Desilting |  | AMFM | Y
297 | Stormwater | SD |  |  | MA2 | Type MA2 Double Seal Terminal |  | AMFM | Y
298 | Stormwater | SD |  |  | MC2 | Type MC2 Double Seal Terminal |  | AMFM | Y
299 | Stormwater | SD |  |  | RD_ | Recessed Desilting |  | AMFM | Y
300 | Stormwater | SD | Manhole | SMH | A __ | Type A | Y | AMFM
301 | Stormwater | SD |  |  | B __ | Type B | Y | AMFM
302 | Stormwater | SD |  |  | C __ | Type C | Y | AMFM
303 | Stormwater | SD |  |  | C1_ | Type C1 | Y | AMFM
304 | Stormwater | SD |  |  | D __ | Type D | Y | AMFM
305 | Stormwater | SD |  |  | D1_ | Type D1 | Y | AMFM
306 | Stormwater | SD |  |  | E __ | Type E | Y | AMFM
307 | Stormwater | SD |  |  | E1_ | Type E1 | Y | AMFM
308 | Stormwater | SD |  |  | F __ | Type F | Y | AMFM
309 | Stormwater | SD |  |  | F1_ | Type F1 | Y | AMFM
310 | Stormwater | SD |  |  | G __ | Type G (without desilting opening) | Y | AMFM
311 | Stormwater | SD |  |  | G1_ | Type G1 (without desilting opening) | Y | AMFM
312 | Stormwater | SD |  |  | G1D | Type G1D (with desilting opening) | Y | AMFM
313 | Stormwater | SD |  |  | GD_ | Type G/D (with desilting opening) | Y | AMFM
314 | Stormwater | SD |  |  | H __ | Type H (without desilting opening) | Y | AMFM
315 | Stormwater | SD |  |  | HD_ | Type H/D (with desilting opening) | Y | AMFM
316 | Stormwater | SD |  |  | I __ | Type I (without desilting opening) | Y | AMFM
317 | Stormwater | SD |  |  | ID_ | Type I/D (with desilting opening) | Y | AMFM
318 | Stormwater | SD |  |  | J __ | Type J (without desilting opening) | Y | AMFM
319 | Stormwater | SD |  |  | JD_ | Type J/D (with desilting opening) | Y | AMFM
320 | Stormwater | SD |  |  | K __ | Type K (without desilting opening) | Y | AMFM
321 | Stormwater | SD |  |  | KD_ | Type K/D (with desilting opening) | Y | AMFM
322 | Stormwater | SD |  |  | L __ | Type L (with desilting opening) | Y | AMFM
323 | Stormwater | SD |  |  | PCA | Type A (Precast) | Y | AMFM
324 | Stormwater | SD |  |  | PCB | Type B (Precast) | Y | AMFM
325 | Stormwater | SD | Gully | GLY |  |  | Y | AMFM
326 | Stormwater | SD | Outlet | SNF |  |  |  | AMFM | Y
327 | Stormwater | SD | Sand Trap | SPH |  |  | Y | AMFM | Y
328 | Stormwater | SD | Rising Main | SRM |  |  | Y | AMFM | Y
329 | Stormwater | SD | Multiple Rising Main | SMM |  |  | Y | AMFM | Y
330 | Stormwater | SD | Retaining Wall | SRW |  |  |  | AMFM | Y
331 | Stormwater | SD | Special Manhole | SSH | T1_ | Type 1 | Y | AMFM | Y
332 | Stormwater | SD |  |  | T2_ | Type 2 | Y | AMFM | Y
333 | Stormwater | SD |  |  | T3_ | Type 3 | Y | AMFM | Y
334 | Stormwater | SD | Pipe | SWD |  |  | Y | AMFM | Y
335 | Stormwater | SD | Multiple Pipe | SMD |  |  | Y | AMFM | Y
336 | Stormwater | SD | Valve | SVH |  |  | Y | AMFM | Y
337 | Stormwater | SD | Weir | SWE |  |  |  | AMFM | Y
338 | Sewerage | FO | Box Culvert | FBP |  |  | Y | AMFM | Y
339 | Sewerage | FO | Chamber | FCH |  |  | Y | AMFM | Y
340 | Sewerage | FO | Terminal Manhole | FLH | T1_ | Type T1 | Y | AMFM | Y
341 | Sewerage | FO |  |  | T2_ | Type T2 | Y | AMFM | Y
342 | Sewerage | FO |  |  | T3_ | Type T3 | Y | AMFM | Y
343 | Sewerage | FO |  |  | T4_ | Type T4 | Y | AMFM | Y
344 | Sewerage | FO |  |  | T10 | Type T5 | Y | AMFM | Y
345 | Sewerage | FO | Manhole Cover | FMC | MA2 | Type MA2 Double Seal Terminal |  | AMFM | Y
346 | Sewerage | FO |  |  | MC2 | Type MC2 Double Seal Terminal |  | AMFM | Y
347 | Sewerage | FO |  |  | DT_ | Double Triangular |  | AMFM | Y
348 | Sewerage | FO |  |  | RSS | Recessed Single Seal |  | AMFM | Y
349 | Sewerage | FO |  |  | RDS | Recessed Double Seal |  | AMFM | Y
350 | Sewerage | FO |  |  | SLH | Double Seal Terminal Manhole |  | AMFM | Y
351 | Sewerage | FO | Manhole | FMH | A __ | Type A | Y | AMFM
352 | Sewerage | FO |  |  | B __ | Type B | Y | AMFM
353 | Sewerage | FO |  |  | C __ | Type C | Y | AMFM
354 | Sewerage | FO |  |  | C1_ | Type C1 | Y | AMFM
355 | Sewerage | FO |  |  | D __ | Type D | Y | AMFM
356 | Sewerage | FO |  |  | D1_ | Type D1 | Y | AMFM
357 | Sewerage | FO |  |  | E __ | Type E | Y | AMFM
358 | Sewerage | FO |  |  | E1_ | Type E1 | Y | AMFM
359 | Sewerage | FO |  |  | F __ | Type F | Y | AMFM
360 | Sewerage | FO |  |  | F1_ | Type F1 | Y | AMFM
361 | Sewerage | FO |  |  | G __ | Type G (without desilting opening) | Y | AMFM
362 | Sewerage | FO |  |  | G1_ | Type G1 (without desilting opening) | Y | AMFM
363 | Sewerage | FO |  |  | G1D | Type G1D (with desilting opening) | Y | AMFM
364 | Sewerage | FO |  |  | GD_ | Type G/D (with desilting opening) | Y | AMFM
365 | Sewerage | FO |  |  | H __ | Type H (without desilting opening) | Y | AMFM
366 | Sewerage | FO |  |  | HD_ | Type H/D (with desilting opening) | Y | AMFM
367 | Sewerage | FO |  |  | I __ | Type I (without desilting opening) | Y | AMFM
368 | Sewerage | FO |  |  | ID_ | Type I/D (with desilting opening) | Y | AMFM
369 | Sewerage | FO |  |  | J __ | Type J (without desilting opening) | Y | AMFM
370 | Sewerage | FO |  |  | JD_ | Type J/D (with desilting opening) | Y | AMFM
371 | Sewerage | FO |  |  | K __ | Type K (without desilting opening) | Y | AMFM
372 | Sewerage | FO |  |  | KD_ | Type K/D (with desilting opening) | Y | AMFM
373 | Sewerage | FO |  |  | L __ | Type L (with desilting opening) | Y | AMFM
374 | Sewerage | FO |  |  | PCA | Type A (Precast) | Y | AMFM
375 | Sewerage | FO |  |  | PCB | Type B (Precast) | Y | AMFM
376 | Sewerage | FO | Rising Main | FRM | CRO | Cross | Y | AMFM | Y
377 | Sewerage | FO |  |  | ELB | Elbow | Y | AMFM | Y
378 | Sewerage | FO |  |  | FLA | Flange | Y | AMFM | Y
379 | Sewerage | FO |  |  | RED | Reducer | Y | AMFM | Y
380 | Sewerage | FO |  |  | TEE | Tee | Y | AMFM | Y
381 | Sewerage | FO | Multiple Rising Main | FMM |  |  | Y | AMFM | Y
382 | Sewerage | FO | Special Manhole | FSH | T1_ | Type 1 | Y | AMFM | Y
383 | Sewerage | FO |  |  | T2_ | Type 2 | Y | AMFM | Y
384 | Sewerage | FO |  |  | T3_ | Type 3 | Y | AMFM | Y
385 | Sewerage | FO | Treatment Facility | FTF | ANT | Aeration Tank |  | BAMS | Y
386 | Sewerage | FO |  |  | FIC | Final Clarifier |  | BAMS | Y
387 | Sewerage | FO |  |  | PST | Primary Sedimentation Tank |  | BAMS | Y
388 | Sewerage | FO |  |  | GTF | Grip Trap |  | BAMS | Y
389 | Sewerage | FO |  |  | SDR | Sludge Digestion Tank |  | BAMS | Y
390 | Sewerage | FO |  |  | SDO | Sludge Draw-off Chamber |  | BAMS | Y
391 | Sewerage | FO | Stepped channel | FSC |  |  | Y | AMFM | Y
392 | Sewerage | FO | Half-round channel | FFP |  |  | Y | AMFM | Y
393 | Sewerage | FO | U Channel | FUP |  |  | Y | AMFM | Y
394 | Sewerage | FO | Surface Channel | FHP |  |  | Y | AMFM | Y
395 | Sewerage | FO | Decked Nullah | FDN |  |  | Y | AMFM | Y
396 | Sewerage | FO | DWF Channel Path | FDC |  |  | Y | AMFM | Y
397 | Sewerage | FO | Nullah | FNU |  |  | Y | AMFM | Y
398 | Sewerage | FO | Channel | FCA |  |  | Y | AMFM | Y
399 | Sewerage | FO | Cascade | FAP |  |  | Y | AMFM | Y
400 | Sewerage | FO | Tunnel | FTP |  |  |  | AMFM | Y
401 | Sewerage | FO | Pipe | FWD |  |  | Y | AMFM | Y
402 | Sewerage | FO | Multiple Pipe | FMD |  |  | Y | AMFM | Y
403 | Sewerage | FO | Valve | FVH |  |  | Y | AMFM | Y
404 | Sewerage | FO | Submarine Outfall/ Diffuser | FSF |  |  | Y | AMFM | Y
405 | Structural | ST | Beam | TBS | GBS | Ground Beam | Y | BAMS | Y
406 | Structural | ST |  |  | TIE | Tie Beam | Y | BAMS
407 | Structural | ST | Column | TCO |  |  | Y | BAMS | Y
408 | Structural | ST | Slab & Floor | TLA | OPN | Slab Opening |  | BAMS | Y, no need to classify Sub Cat-code
409 | Structural | ST |  |  | SFC | Slab Finishing Fair Faced Concrete | Y | BAMS
410 | Structural | ST |  |  | SFO | Foundation Slab / Pile Cap |  | BAMS
411 | Structural | ST |  |  | SFP | Slab Finishing Painting |  | BAMS
412 | Structural | ST |  |  | SFT | Slab Finishing Ceramic Tile |  | BAMS
413 | Structural | ST | Multi-part Covers | TMC |  |  |  | BAMS | Y
414 | Structural | ST | Mesh Floor | TMF |  |  |  | BAMS | Y
415 | Structural | ST | Concrete/ Steel Pit Cover | TPC |  |  |  | BAMS | Y
416 | Structural | ST | Stair (Steps, Risers, Threads, Landings) | TTE |  |  | Y | BAMS | Y
417 | Structural | ST | Other | TTH |  | Plinth and the concrete types which are not included in the classification list |  | BAMS | Y
418 | Structural | ST |  |  | COV | Cover and frame |  | BAMS | Y
419 | Structural | ST |  |  | STF | Steel frame |  | BAMS
420 | Structural | ST |  |  | FLP | Flower Pot |  | BAMS
421 | Structural | ST |  |  | HRD | Hoarding |  | BAMS
422 | Structural | ST |  |  | INS | Instrumentation |  | BAMS
423 | Structural | ST |  |  | LOG | Logo |  | BAMS
424 | Structural | ST |  |  | SG_ | Sign |  | BAMS
425 | Structural | ST |  |  | SGB | Signboard |  | BAMS
426 | Structural | ST |  |  | SPB | Publicity Board Support |  | BAMS
427 | Structural | ST |  |  | SPI | Manhole Step Iron |  | BAMS
428 | Structural | ST |  |  | WMB | Water Meter Box |  | BAMS | Y
429 | Structural | ST | Wall | TWL | IFC | Internal Wall Finishing Fair Faced Concrete |  | BAMS | Y, no need to classify Sub Cat-code
430 | Structural | ST |  |  | IFP | Internal Wall Finishing Painting |  | BAMS
431 | Structural | ST |  |  | IFT | Internal Wall Finishing Ceramic Tile |  | BAMS
432 | Structural | ST |  |  | IWL | Internal Wall | Y | BAMS
433 | Structural | ST |  |  | PWL | Parapet Wall | Y | BAMS
434 | Structural | ST |  |  | OPN | Wall Opening |  | BAMS
435 | Structural | ST |  |  | TFC | External Wall Finishing Fair Faced Concrete |  | BAMS
436 | Landscape | LA | Hard Landscape | HDL |  |  |  | N/A | Y
437 | Landscape | LA | Soft Landscape | SFL |  |  |  | N/A | Y
438 | Building Service | BS | Plumbing fixtures | PLM |  | Wash Basin / Toilet Seat |  | BAMS | Y
439 | Electrical | EL | Cable Tray Fittings | CTF |  |  | Y | STOMMIS | Y
440 | Building Service | BS | Drain/ Sewer Pipe | BDS |  | Drain/ Sewer Pipe of the building (to the first catchpit/ manhole outside) |  | BAMS